## Лист1 (3)
ТИП1 (Номер 701)
Путь к тегу сервера: "Modbus TCP Server (Slave mode) 701" |  |  |  | ТИП1: 201,202,203,204,205,207,208, 209, 210, 211, 213, 214, 215, 216, 217, 218, 220, 222, 224, 226, 228, 230, 232, 301, 302, 303, 304, 305, 307, 308, 309, 310, 311, 313, 314, 315, 316, 317, 318, 320, 322, 324, 326, 328, 330, 332, 401, 402, 403, 404, 405, 407, 408, 409, 410, 411, 413, 414, 415, 416, 417, 418, 420, 422, 424, 426, 428, 430, 432, 501, 502, 503, 504, 505, 506, 507, 508, 509, 510, 511, 513, 514, 515, 516, 517, 601, 602, 603, 604, 608, 610, 614, 616, 701, 703, 710, 712
Commans | Value | Feedback | Description
C_DND | 0/1 | F_DND | 0-DND OFF, 1-DND ON
C_MUR | 0/1 | F_MUR | 0-MUR OFF, 1-MUR ON
C_Light 1 | 0/1 | F_Light 1 | 0-Lights OFF, 1-Lights ON
C_Light 2 | 0/1 | F_Light 2 | 0-Lights OFF, 1-Lights ON
C_Light 3 | 0/1 | F_Light 3 | 0-Lights OFF, 1-Lights ON
C_Light 4 | 0/1 | F_Light 4 | 0-Lights OFF, 1-Lights ON
C_Light 5 | 0/1 | F_Light 5 | 0-Lights OFF, 1-Lights ON
C_Light 6 | 0/1 | F_Light 6 | 0-Lights OFF, 1-Lights ON
C_Light 7 | 0/1 | F_Light 7 | 0-Lights OFF, 1-Lights ON
C_Light 8 | 0/1 | F_Light 8 | 0-Lights OFF, 1-Lights ON
C_Light 9 | 0/1 | F_Light 9 | 0-Lights OFF, 1-Lights ON
C_Light 10 | 0/1 | F_Light 10 | 0-Lights OFF, 1-Lights ON
C_Curtain 1 | 0/1 | F_Curtain 1 | 0-Curtain Close, 1-Curtain Open
C_FCU_MainSw 1 | 0-1 | F_FCU_MainSw 1 | 0-Termostat OFF, 1-Termostat ON
C_FCU_Speed 1 | 0-3 | F_FCU_Speed 1 | 0 -Auto, 1 - Low, 2 - Med, 3 - High
C_FCU_Setpoint 1 | 16-32 | F_FCU_Setpoint 1
C_FCU_Temperature 1 | 16-32 | F_FCU_Temperature 1
C_Scene_1 | 0/1 |  | 1-Scene_1 ON (momentary button)
C_Scene_2 | 0/1 |  | 1-Scene_1 ON (momentary button)
ТИП2 (Номер 708)
Путь к тегу сервера: "Modbus TCP Server (Slave mode) 708" |  |  |  | ТИП2: 212, 312, 412, 512, 612, 708
Commans | Value | Feedback | Description
C_DND | 0/1 | F_DND | 0-DND OFF, 1-DND ON
C_MUR | 0/1 | F_MUR | 0-MUR OFF, 1-MUR ON
C_Light 1 | 0/1 | F_Light 1 | 0-Lights OFF, 1-Lights ON
C_Light 2 | 0/1 | F_Light 2 | 0-Lights OFF, 1-Lights ON
C_Light 3 | 0/1 | F_Light 3 | 0-Lights OFF, 1-Lights ON
C_Light 4 | 0/1 | F_Light 4 | 0-Lights OFF, 1-Lights ON
C_Light 5 | 0/1 | F_Light 5 | 0-Lights OFF, 1-Lights ON
C_Light 6 | 0/1 | F_Light 6 | 0-Lights OFF, 1-Lights ON
C_Light 7 | 0/1 | F_Light 7 | 0-Lights OFF, 1-Lights ON
C_Light 8 | 0/1 | F_Light 8 | 0-Lights OFF, 1-Lights ON
C_Light 9 | 0/1 | F_Light 9 | 0-Lights OFF, 1-Lights ON
C_Light 10 | 0/1 | F_Light 10 | 0-Lights OFF, 1-Lights ON
C_Light 11 | 0/1 | F_Light 11 | 0-Lights OFF, 1-Lights ON
C_Curtain 1 | 0/1 | F_Curtain 1 | 0-Curtain Close, 1-Curtain Open
C_Curtain 2 | 0/1 | F_Curtain 2 | 0-Curtain Close, 1-Curtain Open
C_Curtain 3 | 0/1 | F_Curtain 3 | 0-Curtain Close, 1-Curtain Open
C_FCU_MainSw 1 | 0-1 | F_FCU_MainSw 1 | 0-Termostat OFF, 1-Termostat ON
C_FCU_Speed 1 | 0-3 | F_FCU_Speed 1 | 0 -Auto, 1 - Low, 2 - Med, 3 - High
C_FCU_Setpoint 1 | 16-32 | F_FCU_Setpoint 1
C_FCU_Temperature 1 | 16-32 | F_FCU_Temperature 1
C_FCU_MainSw 2 | 0-1 | F_FCU_MainSw 2 | 0-Termostat OFF, 1-Termostat ON
C_FCU_Speed 2 | 0-3 | F_FCU_Speed 2 | 1 -Auto, 1 - Low, 2 - Med, 3 - High
C_FCU_Setpoint 2 | 16-32 | F_FCU_Setpoint 2
C_FCU_Temperature 2 | 16-32 | F_FCU_Temperature 2
C_Scene_1 | 0/1 |  | 1-Scene_1 ON (momentary button)
C_Scene_2 | 0/1 |  | 1-Scene_1 ON (momentary button)
ТИП3 (Номер 706)
Путь к тегу сервера: "Modbus TCP Server (Slave mode) 706" |  |  |  | ТИП3: 206, 306, 406, 506, 518, 520, 522, 524, 526, 606, 702, 704, 706
Commans | Value | Feedback | Description
C_DND | 0/1 | F_DND | 0-DND OFF, 1-DND ON
C_MUR | 0/1 | F_MUR | 0-MUR OFF, 1-MUR ON
C_Light 1 | 0/1 | F_Light 1 | 0-Lights OFF, 1-Lights ON
C_Light 2 | 0/1 | F_Light 2 | 0-Lights OFF, 1-Lights ON
C_Light 3 | 0/1 | F_Light 3 | 0-Lights OFF, 1-Lights ON
C_Light 4 | 0/1 | F_Light 4 | 0-Lights OFF, 1-Lights ON
C_Light 5 | 0/1 | F_Light 5 | 0-Lights OFF, 1-Lights ON
C_Light 6 | 0/1 | F_Light 6 | 0-Lights OFF, 1-Lights ON
C_Light 7 | 0/1 | F_Light 7 | 0-Lights OFF, 1-Lights ON
C_Light 8 | 0/1 | F_Light 8 | 0-Lights OFF, 1-Lights ON
C_Light 9 | 0/1 | F_Light 9 | 0-Lights OFF, 1-Lights ON
C_Light 10 | 0/1 | F_Light 10 | 0-Lights OFF, 1-Lights ON
C_Light 11 | 0/1 | F_Light 11 | 0-Lights OFF, 1-Lights ON
C_Light 12 | 0/1 | F_Light 12 | 0-Lights OFF, 1-Lights ON
C_Curtain 1 | 0/1 | F_Curtain 1 | 0-Curtain Close, 1-Curtain Open
C_Curtain 2 | 0/1 | F_Curtain 2 | 0-Curtain Close, 1-Curtain Open
C_FCU_MainSw 1 | 0-1 | F_FCU_MainSw 1 | 0-Termostat OFF, 1-Termostat ON
C_FCU_Speed 1 | 0-3 | F_FCU_Speed 1 | 0 -Auto, 1 - Low, 2 - Med, 3 - High
C_FCU_Setpoint 1 | 16-32 | F_FCU_Setpoint 1
C_FCU_Temperature 1 | 16-32 | F_FCU_Temperature 1
C_FCU_MainSw 2 | 0-1 | F_FCU_MainSw 2 | 0-Termostat OFF, 1-Termostat ON
C_FCU_Speed 2 | 0-3 | F_FCU_Speed 2 | 1 -Auto, 1 - Low, 2 - Med, 3 - High
C_FCU_Setpoint 2 | 16-32 | F_FCU_Setpoint 2
C_FCU_Temperature 2 | 16-32 | F_FCU_Temperature 2
C_Scene_1 | 0/1 |  | 1-Scene_1 ON (momentary button)
C_Scene_2 | 0/1 |  | 1-Scene_1 ON (momentary button)