## 1
Отдельный номер (Номер 100)
Путь к тегу сервера: "Modbus TCP Server (Slave mode) 100"
Commans | Value | Feedback | Description | СИАЛИЯ
C_DND | 0/1 | F_DND | 0-DND OFF, 1-DND ON | Не беспокоить
C_MUR | 0/1 | F_MUR | 0-MUR OFF, 1-MUR ON | Убрать комнату
C_WAIT | 0/1 | F_WAIT | 0-WAIT OFF, 1-WAIT ON | Забрать одежду в прачечную
C_SOS | 0/1 | F_SOS | 0-SOS OFF, 1-SOS ON
C_Light 0 | 0/1 | F_Light 0 | 0-Light OFF, 1-Light ON | L1 (гр. 2.3.1)
C_Light 1 | 0/1 | F_Light 1 | 0-Light OFF, 1-Light ON | L2 (гр. 2.3.2)
C_Light 2 | 0/1 | F_Light 2 | 0-Light OFF, 1-Light ON | L3 (гр. 2.3.3)
C_Light 3 | 0/1 | F_Light 3 | 0-Light OFF, 1-Light ON | L4 (гр. 2.3.4)
C_Light 4 | 0/1 | F_Light 4 | 0-Light OFF, 1-Light ON | L5 (гр. 2.3.5)
C_Light 5 | 0/1 | F_Light 5 | 0-Light OFF, 1-Light ON | L6 (гр. 2.3.6)
C_Light 6 | 0/1 | F_Light 6 | 0-Light OFF, 1-Light ON | L7 (гр. 2.3.7)
C_Light 7 | 0/1 | F_Light 7 | 0-Light OFF, 1-Light ON | L8 (гр. 2.3.8)
C_Light 8 | 0/1 | F_Light 8 | 0-Light OFF, 1-Light ON
C_Light 9 | 0/1 | F_Light 9 | 0-Light OFF, 1-Light ON
C_Light 10 | 0/2 | F_Light 10 | 0-Light OFF, 1-Light ON
C_Light 11 | 0/3 | F_Light 11 | 0-Light OFF, 1-Light ON
C_Curtain 1 | 0/1 | F_Curtain 1 | 0-Curtain Close, 1-Curtain Open
C_FCU_MainSw 0 | 0-1 | F_FCU_MainSw 0 | 0-Termostat OFF, 1-Termostat ON
C_FCU_Speed 0 | 0-4 | F_FCU_Speed 0 | 0 -Low, 1 - Med, 2 - High, 4 - Auto
C_FCU_Setpoint 0 | 18-30 | F_FCU_Setpoint 0
C_FCU_Temperature 0 | 18-30 | F_FCU_Temperature 0
C_FCU_Mode 0 | 16-33 | F_FCU_Mode 0 | 0 -Cold, 1 - Heat, 2 - Fan